| Product Image |  |
| --- | --- |
| Part Number | PL-7037 – Cloud9 4.3” Video Telephone (PoE) |
| Dimensions | 185mm W x 170mm H x 44mm D |
| Weight | 0.5Kg |
| Material | Polished White ABS Plastic |
| Display Type | 4.3” TFT LCD Touch Screen Colour Display |
| Operating System | Linux |
| Power | PoE IEEE 802.3 af Class 2 |
| Operating Temperature | 0° to +35°C |
| Video Standard | H.264 & Meg4 |
| Recommended Cable Type | Cat5e / Cat6 |
| Maximum Cable Distance | 90m to the nearest PoE Switch Location |

# Text boxes

4.3” Video IP Telephone